## Slide 2
Documentos disponibles en:
( Files availables in: )

## Slide 3
Medios de comunicación
Communication links:
baeza@unam.mx

## Slide 7
potentiommetry
1

## Slide 8
conductommetry
2

## Slide 9
voltammetry
3

## Slide 10
Microphotocolorimetry

## Slide 11
Education levels of experimental
analytical electrochemistry:

## Slide 12
Education levels of experimental
analytical electrochemistry:
(1st)
micropotentiometry

## Slide 13
Education levels of experimental
analytical electrochemistry:
(1st)
(2nd)
Ionic
Migration:

## Slide 14
Education levels of experimental
analytical electrochemistry:
(1st)
(2nd)
(3rd)
Redox electrochemical
reaction

## Slide 15
Education levels of experimental
analytical electrochemistry:
(1st)
(2nd)
(3rd)
(4th)
MICRO ELECTROANALYZER
SISTEM

## Slide 16
1st:
Polarized interphase is formed:
Electrode potential:
Eletrochemical equilibrium :

## Slide 17
1st:
Polarized interphase is formed:
Electrode potential:
Eletrochemical equilibrium
potentiometer
Potentiometric cell
salt bridge

## Slide 18
1st:
Polarized interphase is formed:
Electrode potential:
Eletrochemical equilibrium
reference electrode: RE
salt bridge
reference solution
working or sensor electrode: WE
analyte solution

## Slide 19
Micro
Micro ISE: pH, pCl, pM, pHS, pSO4,
Micro biosensors:
Potato, cucumber, radish, soya, banana.
H2O2, urea, asc. acid, dopamine,

## Slide 21: Microtitulación de HCl 0.1 M con NaOH con monitoreo potenciométrico con microelectrodo de W y microreferencia de Cu|H2O|| y su calibración E=f(pH):
Chart: E=f(Vol)
| 0 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300 | 320 | 340 | 360 | 380 | 400 | 420 | 440 | 460 | 480 | 500 | 520 | 540 | 560 | 580 | 600 | 620 | 640 | 660 | 680 | 700 | 720 | 740 | 760 | 780 | 800
 | -102 | -100 | -102 | -101 | -102 | -101 | -102 | -101 | -102 | -102 | -103 | -104 | -105 | -105 | -105 | -105 | -115 | -121 | -129 | -136 | -150 | -180 | -381 | -404 | -415 | -418 | -421 | -423 | -428 | -430 | -432 | -434 | -439 | -440 | -441 | -443 | -452 | -452 | -452 | -452 | -452
Chart: pH=f(Vol)
| 0 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300 | 320 | 340 | 360 | 380 | 400 | 420 | 440 | 460 | 480 | 500 | 520 | 540 | 560 | 580 | 600 | 620 | 640 | 660 | 680 | 700 | 720 | 740 | 760 | 780 | 800
pH | 2 | 1.9429 | 2 | 1.9714 | 2 | 1.9714 | 2 | 1.9714 | 2 | 2 | 2.0286 | 2.0571 | 2.0857 | 2.0857 | 2.0857 | 2.0857 | 2.3714 | 2.5429 | 2.7714 | 2.9714 | 3.3714 | 4.2286 | 9.9714 | 10.6286 | 10.9429 | 11.0286 | 11.1143 | 11.1714 | 11.3143 | 11.3714 | 11.4286 | 11.4857 | 11.6286 | 11.6571 | 11.6857 | 11.7429 | 12 | 12 | 12 | 12 | 12
b = E1 – (m)(2)
f (E) = pH =
m
Ei - b
12 - 2
E2 – E1
m =

## Slide 22
Non destructive solid state pH films!

## Slide 25
Muhammed Akthar, V. Espinoza, A. Baeza A. M Qazi
Pakistan Journal of Soil Sciences 22(2003)41-46
V. Espinosa, Muhammed Akhtar, A.Baeza, AbdulMujeeb
Pakistan Journal of Biological Sciences 8[1](2005)61-62
pH?
Microsolid state pH sensors in direct soils.

## Slide 26
Electrodo de cobre (referencia)
Termometro clinico
Electrodo de Wolframio (sensor)
Matraz con “medio minimo
para E. coli“
Asa
Chart: Medición del potencial para obserevar el desarrollo de microorganismos
| 38166 | 38168 | 38170 | 38173
potencial | -192 | -191 | -184 | -182
Direct measuremments in biological reactors, MEC:

## Slide 30
2nd:
Eletrochemical pseudo-equilibrium:
External potential appliedionic migration

## Slide 31
2nd:
Eletrochemical pseudo-equilibrium:
External potential appliedionic migration

## Slide 32
2nd:
Eletrochemical pseudo-equilibrium:
External potential appliedionic migration

## Slide 33
From the original ideas:
1802-1875

## Slide 34
From the original ideas:

## Slide 35
From the original ideas:

## Slide 36
From the original ideas:
micro-Conductimetric
Cell !

## Slide 37
From the original ideas:

## Slide 40
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
ne-
ne-

## Slide 41
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:

## Slide 42
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
ne-
ne-

## Slide 43
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
X
Y
ne-
ne-

## Slide 45
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Qualitative approach:
Quantitative approach:
Coulometric Titrations.

## Slide 46
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Qualitative approach:
Quantitative approach:
Coulometric Titrations.

## Slide 48
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Coulometric Titrations.
AE
WE : titrant electrode
EBS
I = constant
Mass transfer constante
visual
indicator

## Slide 49
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Coulometric Titrations.
AE
WE : titrant electrode
EBS
titrant
analyte
productos
I = constant
Mass transfer constante

## Slide 50
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Coulometric Titrations.
AE
WE : titrant electrode
EBS
titrant
analyte
productos
End point
time!
I = constant
Mass transfer constante

## Slide 51
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Coulometric Titrations.
AE
WE : titrant electrode
EBS
titrant
analyte
productos
End point
time!
It = n F m
I = constant
Mass transfer constante

## Slide 52
3rd:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Coulometric Titrations.
AE
WE : titrant electrode
EBS
titrant
analyte
productos
End point
time!
It = n F m
I = constant
Mass transfer constante
m of analyte

## Slide 53
Redox microcoulometric titration: Titration of ascorbic acid.
Thiosoulphate
Calibration
Time.

## Slide 54
Redox microcoulometric titration: Titration of ascorbic acid.

## Slide 55
Redox microcoulometric titration: Titration of ascorbic acid.

## Slide 57
t = 0
Visual
Ending
Point
detection

## Slide 58
Micropotentiometric ending point microcoulometric acid-base titration!

## Slide 59
Micropotentiometric pH ending point microcoulometric titration
pH
time

## Slide 60
nHCl
tending point

## Slide 61
Equivalence point time

## Slide 63
4th:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Micro analyzer systems
Minimal Instrumentation Mini Polarograph: MIMP.

## Slide 64
4th:
Depolarize External potential appliedinterphase charge transfer:
Electrochemical reaction:
Quantitative approach:
Micro analyzer systems
Minimal Instrumentation Mini Polarograph: MIMP.

## Slide 68
MIMP:

## Slide 69
MIMP:

## Slide 70
MIMP:

## Slide 71
MIMP:

## Slide 72
MIMP:

## Slide 73
Chapter 5

## Slide 76
BASIC EXPERIMENTS

## Slide 77
Perturbation
program

## Slide 78
Perturbation
program
Response
pattern

## Slide 79
Perturbation
Program
Response
pattern
Data
Analysis

## Slide 80
Basic teaching equipments

## Slide 81
Basic equipments
compact ones

## Slide 82
Basic equipments
compact ones

## Slide 83
All integrated equipment

## Slide 84
Low cost sampled current pulse voltammetry:
Karl Fisher H2O titration
MIMP-I
Baeza,
Workshop in the 3rd International Microscale Chemistry Symposium
Mexico City. 2005
3 electrodes microcell
Water content determination
Chronoamperometric end-point
Adrián de Santiago, 2002

## Slide 85
DC and DPP
Micropolarographic
cell
WE: DME
ER
AE
N2
(vol. = 0.5 mL)
LOW COST MICRO ELECTROCHEMICAL CELLS:

## Slide 87
Chart: Iodine-iodide I-E plots
| -1260 | -1240 | -1200 | -1100 | -1000 | -900 | -800 | -700 | -600 | -500 | -400 | -300 | -200 | -100 | 0 | 100 | 138 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1820 | 1830 | 1853
1 mL de KNO3 0.1 F | -168 | -147 | -35 | -22.7 | -12.2 | -7.2 | -4.4 | -3.3 | -2.8 | -2.6 | -2 | -1.5 | -0.9 | -0.2 | 0 | 0.5 | 0.2 | 0.5 | 0.5 | 0.8 | 0.8 | 1 | 1.4 | 1.4 | 1.8 | 2.1 | 2.7 | 3.2 | 4.6 | 6.3 | 8.7 | 11.7 | 14 | 30.9 | 47 | 163 | 177.5
1 mL de KI 10-2 M | -200 | -160.7 | -123.6 | -87.4 | -45.6 | -20 | -10.2 | -2.7 | -1.5 | -1.3 | -1.4 | -1 | -0.5 | 0 | 0.1 | 0.5 | 0.5 | 0.4 | 0.5 | 0.9 | 3.1 | 7.9 | 9.9 | 10 | 10.2 | 9.3 | 10.2 | 11.1 | 13.6 | 13.4 | 14.7 | 17.1 | 24 | 43 | 57 | 75 | 96 | 116.6 | 125.6 | 132.2 | 157 | 182
1 mL de sol sat de I2 | -199 | -115.4 | -8.6 | -5.3 | -5 | -5.4 | -4.9 | -4 | -2.8 | -2 | -1.3 | -1 | -0.7 | -0.5 | -0.6 | -0.6 | -0.1 | -0.1 | 0.2 | 0.5 | 0.6 | 0.7 | 0.9 | 1 | 1.3 | 1.7 | 2.5 | 2.9 | 4 | 9.4
1 mL de triyoduro (barrido catódico) | -125.3 | -101.5 | -92.2 | -81 | -67.3 | -57.8 | -51.3 | -47.5 | -47 | -47 | -47.2 | -45.6 | -45 | -45.2 | -44.8 | -45 | -44.6 | -44.5 | -44.4 | -43.9 | -43.5 | -43.5 | -43.3 | -43.3 | -43.3 | -43.3 | -43.3 | -43.3 | -43.6 | -43.7 | -43.3 | -42.9 | -42 | -42 | -40 | -36 | -25 | -21.8 | -19 | -17 | -14.9 | -12.4 | -12.4 | -9 | -6.5 | -4.8 | -3.1 | -1.6 | -4.8 | 39.1 | 79 | 127.8 | 180
1 mL de troyoduro (barrido anódico) | -129.5 | -64.7 | -14 | -13.2 | -12.9 | -12.9 | -12.9 | -13 | -13.1 | -13.2 | -13.3 | -13.7 | -14 | -14 | -15 | -14.9 | -14.9 | -14.8 | -14.7 | -14.2 | -6 | 31 | 34.3 | 54 | 75.4 | 90 | 123.9 | 136.1 | 161.4 | 188
Didactic simplified model MIMP:
Microcell MIMP

## Slide 89
MIMP
Minimal
Instrumentation
Micro
Polarograph

## Slide 90
Chart: Gráfica I=f(E)
| 0 | 44 | 74 | 104 | 151 | 188 | 226 | 264 | 302 | 341 | 383 | 424 | 468 | 511 | 553 | 596 | 640 | 683 | 727 | 771 | 816 | 859 | 903 | 946 | 992 | 1035 | 1077 | 1120 | 1165 | 1206 | 1250 | 1290 | 1332 | 1373 | 1411 | 1451 | 1490 | 1527 | 1563 | 1599 | 1635 | 1665 | 1699 | 1722 | 1735 | 1739 | 1751 | 1768 | 1794 | 1813 | 1829 | 1838 | 1861 | 1882 | 1899 | 1908 | 1918 | 1927 | 1932
EBS | -0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.6 | 0.6 | 0.7 | 0.8 | 0.8 | 0.8 | 0.9 | 0.9 | 1 | 1.1 | 1.1 | 1.2 | 1.2 | 1.3 | 1.3 | 1.5 | 1.5 | 1.5 | 1.6 | 1.7 | 1.9 | 2 | 2.1 | 2.3 | 2.4 | 2.7 | 2.9 | 3.1 | 3.3 | 3.7 | 4 | 4.5 | 5 | 5.8 | 6.5 | 7.9 | 10 | 13.3 | 17.6 | 22.7 | 28.7 | 35.5 | 42.4 | 49.4 | 56 | 62.5 | 68.8 | 73.6
EBS/Ác. ascórbico | -1.3 | -0.9 | -0.5 | -0.13 | -0.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 1.3 | 1.2 | 1.8 | 2.8 | 3.9 | 5.6 | 8 | 10.6 | 12.9 | 15 | 16.7 | 17.8 | 18.5 | 18.7 | 19.2 | 19.3 | 19.6 | 20 | 20.1 | 20.9 | 21.4 | 21.8 | 22.9 | 23.8 | 25 | 26.6 | 28.5 | 30.4 | 32.5 | 35.1 | 37.7 | 40.4 | 43.8 | 47.3 | 52.5 | 56 | 60 | 64.5 | 68 | 76 | 82.8 | 91.6 | 99.2 | 105.6 | 109.5 | 114
Do = 1.79x10-5 cm2/s
Ascorbic acid oxidation
Voilà! 

## Slide 92
Ionic liquids electrochemistry

## Slide 95
Chart: 
| 1.8 | 3.69 | 7.38 | 11 | 14.76
Cada punto es el promedio 30 repeticiones. | 19.3659 | 37.4237 | 53.8838 | 68.8547 | 92.3093

## Slide 96
EJEMPLO 32: es necesario demostrar la prsencia de Ir(III) en un superconductor:

## Slide 97
Micro
Carbon Paste Electrodes:
MCPE

## Slide 98
Hb
Ionic liquids
[EmIm][BF4]
Microcells SPE
Screen printed electrodes

## Slide 99
Glucose determination in whole blood
Guillermo H. Álvarez Arizabalo, Alejandro Baeza
Voltammetry i=f(E)
Cronommetry E=f(t)
Voltammetry E=f(i)

## Slide 111
Connecting MIMP to PC:
Low cost electrochemical analyzers.
Chronoamperommetry:
iE = f( t)

## Slide 112
Connecting MIMP to PC:
Low cost electrochemical
analyzers.
Chronopotentiommetry:
Ei = f( t)
Chronoamperommetry:
iE = f( t)

## Slide 113
Chart: 
| 0 | 0.02 | 0.04 | 0.06 | 0.08 | 0.1 | 0.12 | 0.14000000000000001 | 0.16 | 0.18 | 0.2 | 0.22 | 0.24 | 0.26 | 0.28000000000000003 | 0.3 | 0.32 | 0.34 | 0.36 | 0.38 | 0.4 | 0.42 | 0.44 | 0.46 | 0.48 | 0.5 | 0.52 | 0.54 | 0.56000000000000005 | 0.57999999999999996 | 0.6 | 0.62 | 0.64 | 0.66 | 0.68 | 0.7 | 0.72 | 0.74 | 0.76 | 0.78 | 0.8 | 0.82
plata recubierta pH | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3.1 | 3.1 | 3.2 | 3.2 | 3.3 | 3.4 | 3.6 | 3.8 | 8.9 | 10.2 | 10.5 | 10.6 | 10.7 | 10.8 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9 | 10.9

## Slide 114
Microphotocolorimetry

## Slide 115
MIMc
1999

## Slide 117
Minimal
Instrumentation
Micro
Colorimeter:
MIMC-IV

## Slide 118: Microfotocolorimetría de proteínas MIMC-IV 2008
Chart: Curva de calibración pT=f(C) n=3


 | 0 | 0.0024463 | 0.0077568 | 0.01146 | 0.016498 | 0.020122
 | -0.0088045
EJEMPLO 37.

## Slide 119
Chart: Gráfica de Ringbom para el 1er prototipo de MIMC
| -5.3357169843988563 | -5.0346869887348804 | -4.7336569930709134 | -4.4183372318703169 | -4.2424926609677636 | -4.1173072362062992 | -4.0199535373276749 | -3.8859453374539381 | -3.7098540783982692 | -3.5849153417899822 | -3.4880053287819202 | -3.4088240827342879 | -3.3418772931036731 | -3.2838853461260018 | -3.2327328236785982 | -3.0380363201058631 | -2.911349917228033 | -2.8347928150065691 | -2.7530601043199621
 | 0.0044004 | 0.0066007 | 0.009901 | 0.025303 | 0.036304 | 0.051705 | 0.062706 | 0.086909 | 0.14631 | 0.21452 | 0.28383 | 0.35974 | 0.44224 | 0.50605 | 0.56986 | 0.84268 | 0.9604 | 0.9813
J. Martínez, A. Baeza
Química Microanalítica de ácido acetilsalisílico con
Microfotocolorímetros de Mínima Instrumentación
(MIMC) de bajo costo
Revista Cubana de Química
XVI-3(2004)29-39
¡bajo norma de FEUM!
Prueba de t |  |  |  | 
Instrumento Utilizado | Media | texperimental | Tteórica | ¿Diferentes?
Espectrofotómetro | 97.2854 |  |  | 
1er. MIMC | 98.5062 | 2.2064 | 2.31 | NO
2do. MIMC | 114.3552 | 7.5121 | 2.78 | SI
3er. MIMC | 99.2773 | 2.0795 | 2.31 | NO
Prueba de t |  |  |  | 
Instrumento Utilizado | Media | texperimental | Tteórica | ¿Diferentes?
Espectrofotómetro | 97.2854 |  |  | 
1er. MIMC | 98.5062 | 2.2064 | 2.31 | NO
2do. MIMC | 114.3552 | 7.5121 | 2.78 | SI
3er. MIMC | 99.2773 | 2.0795 | 2.31 | NO
Prueba de t |  |  |  | 
Instrumento Utilizado | Media | texperimental | Tteórica | ¿Diferentes?
Espectrofotómetro | 97.2854 |  |  | 
1er. MIMC | 98.5062 | 2.2064 | 2.31 | NO
2do. MIMC | 114.3552 | 7.5121 | 2.78 | SI
3er. MIMC | 99.2773 | 2.0795 | 2.31 | NO
EJEMPLO 35

## Slide 123
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by using

## Slide 124
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by “using”
Motivates imagination

## Slide 125
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by using
Motivates imagination
Motivates technological thinking

## Slide 126
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by using
Motivates imagination
Analytical validity
Motivates technological thinking

## Slide 127
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by using
Motivates imagination
Analytical validity
Motivates technological thinking
Basic concepts review

## Slide 128
Low cost total microscale analytical chemistry advantages are:
Learning is achieved more by “doing” than by using
Motivates imagination
Analytical validity
Motivates technological thinking
Ecological aspects enhance:R3
Reduce, Reuse, Recycle
Basic concepts review

## Slide 129
Low cost total microscale analytical chemistry advantages are:
Learning achieved more for “doing” more than usign
Motivates imagination
Analitical validaty
Motivates tecnological thinking
Creativity
Ecological aspects enhance:R3
Reduce, Reuse, Recycle
Basic concepts review

## Slide 130
Low cost total microscale analytical chemistry advantages are:
Learning achieved more for “doing” more than usign
Motivates imagination
Analitical validaty
Motivates tecnological thinking
Operative skills are improved
Creativity
Ecological aspects enhance:R3
Reduce, Reuse, Recycle
Basic concepts review

## Slide 131
Low cost total microscale analytical chemistry advantages are:
Learning achieved more for “doing” more than usign
Motivates imagination
Analitical validaty
Motivates tecnological thinking
Operative skills are improved
Creativity
Ecological aspects enhance:R3
Reduce, Reuse, Recycle
Basic concepts review

## Slide 133
2000 - 2015

## Slide 134
Website in Youtube:

## Slide 135
Website in Youtube:
elmicrolaboratorio

## Slide 136
Website in Youtube: elmicrolaboratorio

## Slide 137: And now to finish a little story:
“One day a traveler man found another one cutting stones
“What are you doing, asked be traveler?”
“I am just cutting this stones, the worker man ansewered”

## Slide 138
“So another happy man cutting stones to, and ask this man the same question”
“What are you doing?”
“The happy man aswered; ¡I build a Cathedral!”
GRACIAS !
Thanks!