## Funciones
X Steam Tables (Magnus Holmgren) www.x-eng.com
f_Psych (M. J. Brandemuhel)
Tablas de vapor de Agua
Temperature
Tsat_p | 1 | bar |  |  | #VALUE! | °C | Saturation temperature
T_ph | 1 | bar | 100 | kJ/kg | #VALUE! | °C | Temperture as a function of pressure and enthalpy
T_ps | 1 | bar | 1 | kJ/(kg K) | #VALUE! | °C | Temperture as a function of pressure and entropy
T_hs | 100 | kJ/kg | 0.2 | kJ/(kg K) | #VALUE! | °C | Temperture as a function of enthalpy and entropy
Presión
psat_T | 100 | °C |  |  | #VALUE! | bar | Saturation pressure
p_hs | 84 | kJ/kg | 0.296 | kJ/(kg K) | #VALUE! | bar | Pressure as a function of h and s.
p_hrho | 2000 | kJ/kg | 5 | kg/m3 | #VALUE! | bar | Pressure as a function of h and rho (density). Very unaccurate for solid water region since it's almost incompressible!
Entalpía específica
hV_p | 1 | bar |  |  | #VALUE! | kJ/kg | Saturated vapour enthalpy
hL_p | 1 | bar |  |  | #VALUE! | kJ/kg | Saturated liquid enthalpy
hV_T | 100 | °C |  |  | #VALUE! | kJ/kg | Saturated vapour enthalpy
hL_T | 100 | °C |  |  | #VALUE! | kJ/kg | Saturated liquid enthalpy
h_pT | 1 | bar | 20 | °C | #VALUE! | kJ/kg | Entalpy as a function of pressure and temperature.
h_ps | 1 | bar | 1 | kJ/(kg K) | #VALUE! | kJ/kg | Entalpy as a function of pressure and entropy.
h_px | 1 | bar | 0.5 |  | #VALUE! | kJ/kg | Entalpy as a function of pressure and vapour fraction
h_Tx | 100 | °C | 0.5 |  | #VALUE! | kJ/kg | Entalpy as a function of temperature and vapour fraction
h_prho | 1 | bar | 2 | kg/m3 | #VALUE! | kJ/kg | Entalpy as a function of pressure and density. Observe for low temperatures (liquid) this equation has 2 solutions. (Not valid!!)
Volumen específico
vV_p | 1 | bar |  |  | #VALUE! | m3/kg | Saturated vapour volume
vL_p | 1 | bar |  |  | #VALUE! | m3/kg | Saturated liquid volume
vV_T | 100 | °C |  |  | #VALUE! | m3/kg | Saturated vapour volume
vL_T | 100 | °C |  |  | #VALUE! | m3/kg | Saturated liquid volume
v_pT | 1 | bar | 100 | °C | #VALUE! | m3/kg | Specific volume as a function of pressure and temperature.
v_ph | 1 | bar | 1000 | kJ/kg | #VALUE! | m3/kg | Specific volume as a function of pressure and enthalpy
v_ps | 1 | bar | 5 | kJ/(kg K) | #VALUE! | m3/kg | Specific volume as a function of pressure and entropy.
rhoV_p | 1 | bar |  |  | #VALUE! | kg/m3 | Saturated vapour density
rhoL_p | 1 | bar |  |  | #VALUE! | kg/m3 | Saturated liquid density
rhoV_T | 100 | °C |  |  | #VALUE! | kg/m3 | Saturated vapour density
rhoL_T | 100 | °C |  |  | #VALUE! | kg/m3 | Saturated liquid density
rho_pT | 1 | bar | 100 | °C | #VALUE! | kg/m3 | Density as a function of pressure and temperature.
rho_ph | 1 | bar | 1000 | kJ/kg | #VALUE! | kg/m3 | Density as a function of pressure and enthalpy
rho_ps | 1 | bar | 1 | kJ/(kg K) | #VALUE! | kg/m3 | Density as a function of pressure and entropy.
Entropía específica
sV_p | 0.006117 | bar |  |  | #VALUE! | kJ/(kg K) | Saturated vapour entropy
sL_p | 0.0061171 | bar |  |  | #VALUE! | kJ/(kg K) | Saturated liquid entropy
sV_T | 0.0001 | °C |  |  | #VALUE! | kJ/(kg K) | Saturated vapour entropy
sL_T | 100 | °C |  |  | #VALUE! | kJ/(kg K) | Saturated liquid entropy
s_pT | 1 | bar | 20 | °C | #VALUE! | kJ/(kg K) | Specific entropy as a function of pressure and temperature (Returns saturated vapour entalpy if mixture.)
s_ph | 1 | bar | #VALUE! | kJ/kg | #VALUE! | kJ/(kg K) | Specific entropy as a function of pressure and enthalpy
IAPWS Release on Surface Tension of Ordinary Water Substance, September 1994
st_T | 100 | °C |  |  | #VALUE! | N/m | Surface tension for two phase water/steam as a function of T
st_p | 1 | bar |  |  | #VALUE! | N/m | Surface tension for two phase water/steam as a function of T
Calidad de vapor
x_ph | 1 | bar | 1000 | kJ/kg | #VALUE! |  | Vapour fraction as a function of pressure and enthalpy
x_ps | 1 | bar | 4 | kJ/(kg K) | #VALUE! |  | Vapour fraction as a function of pressure and entropy.
Volumen en función de la calidad
Observe that vapour volume fraction is very sensitive. Vapour volume is about 1000 times greater than liquid volume and therfore vapour volume fraction
gets close to the accurancy of steam IF-97
vx_ph | 1 | bar | 418 | kJ/kg | #VALUE! |  | Vapour volume fraction as a function of pressure and enthalpy
vx_ps | 1 | bar | 4 | kJ/(kg K) | #VALUE! |  | Vapour volume fraction as a function of pressure and entropy.
Tablas de humedad (Agua-Aire)
Relación de humedad (Humedad absoluta)
Y_THRP | 25 | °C | 0.5 | HR | 0.755 | atm | #VALUE! | kgH2O/kgAS | Relación de humedad en función de la temperatura, humedad relativa y presión
Y_TH | 25 | °C | 50 | kJ/kgAS |  |  | #VALUE! | kgH2O/kgAS | Relación de humedad en función de la temperatura y la entalpía específica
Y_TTbhP | 25 | °C | 15 | °C | 0.755 | atm | #VALUE! | kgH2O/kgAS | Relación de humedad en función de la temperatura, temperatura de bulbo húmedo y presión
Temperatura
T_Yh | 0.01 | kgH2O/kgAS | 50 | kJ/kgAS |  |  | #VALUE! | °C | Temperatura
T_hHRP | 50 | kJ/kgAS | 0.5 | HR | 0.755 | atm | #VALUE! | °C | Temperatura
Entalpía específica
h_TY | 25 | °C | 0.01 | kgH2O/kgAS |  |  | #VALUE! | kJ/kgAS | Entalpía específica en función de la temperatura y relación de humedad
h_THRP | 25 | °C | 0.5 | HR | 0.755 | atm | #VALUE! | kJ/kgAS | Entalpía específica en función de la temperatura, humedad relativa y presión
h_TTbhP | 25 | °C | 15 | °C | 0.755 | atm | #VALUE! | kJ/kgAS | Entalpía de humedad en función de la temperatura, temperatura de bulbo húmedo y presión
Humedad relativa
HR_TTbhP | 25 | °C | 15 | °C | 0.755 | atm | #VALUE! |  | Humedad relativa en función de la temperatura, temperatura de bulbo húmedo y presión
HR_TYP | 25 | °C | 0.01 | kgH2O/kgAS | 0.755 | atm | #VALUE! |  | Humedad relativa en función de la temperatura, relación de humedad y presión
Volumen específico
v_TYP | 25 | °C | 0.01 | kgH2O/kgAS | 0.755 | atm | #VALUE! | m3/kgAS | Volumen específico en función de la temperatura, relación de humedad y presión.

## RelacionHumedad
Constantes de la ecuación de Antoine para el agua (1)
| A | D | C
| 11.7792 | 3885.698 | -42.98
Sistema Agua(1) -Aire (2)
P [bar] | 1.02 |  |  | HR
ΔT [°C] | 5 |  |  | HR =100 | 80 | 60 | 40 | 20 | 10
T [°C] | Paguas [bar] | yaguas | Ysat (molar) | Ysat (másico) | Y (másico) | Y (másico) | Y (másico) | Y (másico) | Y (másico)
5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
15 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
35 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
45 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
50 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
55 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
60 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
65 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
70 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
75 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
80 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
85 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
90 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
95 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
99 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Note on C15: Fracción molar de agua en el vapor en equilibrio con agua líquida pura. Vapor: mezcla de vapor de agua y aire
Note on E13: Por ciento de humedad relativa
Function Ps(A As Double, D As Double, C As Double, T As Double) As Double
Ps = Math.Exp(A - D / (T + 273.15 + C))
End Function
Relación de humedad

## EquiposBasicos
Calentador
P[atm] | 1 | 1.0132 | bar
FA [kg/s]= | 1.5
| A | B | B
T [°C] | 20 | 29.8504 | #VALUE!
HR | 0.9 | 0.5 | 0.5
Y | #VALUE! | #VALUE! | #VALUE!
hAS [kJ kgAS-1] | #VALUE! | #VALUE! | #VALUE!
v [m3 kgAS-1] | #VALUE! | #VALUE! | #VALUE!
h [kJ /kgH2O ] | - | - | -
wASA | #VALUE! | #VALUE! | #VALUE!
FO |  | #VALUE! | #VALUE!
Q/FASA= | #VALUE!
FASA[kg AS s-1] | #VALUE!
Q [kW]= | #VALUE!
P[atm] | 1 | 1.0132 | bar
FA [kg/s]= | 1.5
| A | B | C
T | 32 | 15 | 15
HR | 0.6 | - | 1
Y | #VALUE! | - | #VALUE!
hAS | #VALUE! | - | #VALUE!
v | #VALUE! | #VALUE! | #VALUE!
h | - | #VALUE!
w2A | #VALUE! | 0 | #VALUE!
FO
Q/F2A= | #VALUE!
F2A[kg AS s-1] | #VALUE!
Q [kW]= | #VALUE!
Note on D14: Función objetivo para encontrar la temperatura
Note on E9: YA =YB
Note on E10: h (T,Y)
Note on E14: T(h,HR,P)
Aire húmedo que se encuentra a 32 °C y 60 % de humedad relativa, pasa por el serpentı́n de refrigeración de un deshumidificador, con flujo de 1.5 kg/s. El aire sale saturado a 15 °C. calcular el condensado que se extrae, así como la carga térmica (capacidad frigorífica).

## TorreEnfriamiente
P[atm] | 1
P[bar] | 1.0132
| A | B | C | D | E
T | 25 | 38 | 20 | 25 | 35
HR | - | - | - | 0.35 | 0.7
Y | - | - | - | #VALUE! | #VALUE!
hAS [kJ kgAS-1] | - | - | - | #VALUE! | #VALUE!
h [kJ /kgH2O ] | #VALUE! | #VALUE! | #VALUE! | - | -
F [kg/s] | 100000 | 100000 | #VALUE! | #VALUE! | #VALUE!
wH2O | 1 | 1 | 1 | #VALUE! | #VALUE!
wAS | 0 | 0 | 0 | #VALUE! | #VALUE!
FA/F2I= | #VALUE!
F2I [kg/s]= | #VALUE!
|  |  | Q[kJ/s]= | #VALUE!
|  |  | Q[MW]= | #VALUE!